CIV_ENV 395

Building Enclosure Design

Winter Quarter 2026

This course introduces students to the materials, systems, and design of building enclosures and discusses how building enclosures work with the structural and mechanical systems.  The course will include theoretical and practical information related to core competencies of building enclosure design including structural engineering, material science, building science, fire engineering, and construction management.

Student Learning Outcomes:  Upon completion of this course, students will be able to:

- Describe the history of building enclosure design and construction and the evolution of systems.

- List the performance attributes needed for a successful building enclosure design.

- Identify the four barriers and their importance in building enclosure design.

- Use computer software to determine condensation potential and calculate U-factors for building enclosures.

- Differentiate between similar materials and systems selected for use in building enclosure designs.

- Develop system options analyses to select appropriate systems in building enclosure designs.

- Evaluate potential reasons for non-performance of building enclosures.

Instructors:		Peter M. Babaian, P.E., S.E., P.Eng.

Senior Principal

Simpson Gumpertz & Heger Inc.

Office hours: by appointment (email to coordinate)

Email: pmbabaian@sgh.com

Maria Raggousis, P.E., CPHC

Senior Consulting Engineer

Simpson Gumpertz & Heger Inc.

Office hours: by appointment (email to coordinate)

Email: mraggousis@sgh.com

Guest lecturers from Simpson Gumpertz & Heger Inc. for specific topics

Class Times:		Monday and Wednesday, 9 am to 10:30 am

Location:		Technological Institute

Textbook:		None; Reading packets will be distributed by instructor.

Pre-requisites:		Familiarity with building and enclosure design

Structural Analysis

Building Science 1: Fundamentals for Sustainable Buildings (preferred, not mandatory)

Course Assessment:	Attendance, participation, and homework – 50%

Midterm exam – 25%

Final exam – 25%

Evaluation and Expectations

Attendance

Students are expected to attend class and actively engage in the discussion through questions and comments.

Homework

Homework will be lecture-topic related and assigned throughout the course.  Homework will consist of different exercises of varying complexity.  Assignments will be distributed during class and posted on Canvas with solutions submitted via Canvas in PDF format.  Work must be shown to obtain full credit.

Midterm and Final Exams

Exams will comprise multiple question formats designed to show understanding of key concepts throughout the course.  Midterm exam will be based on the information presented the first half of the course while the final exam will include information presented in the entire course.  Exams will last the duration of the class period.

| Week | Date | Lecture No. | Lecture Title | Instructors | Topic(s) | Assignment | Assignment Due Date |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 01/05/2026 | 1 | Introduction to Building Enclosures Course | Peter Babaian | Summary of what will be covered in course; introduction to reading materials |  |  |
| 1 | 01/07/2026 | 2 | Mass and Transitional Masonry Wall Systems | Peter Babaian | Discussion of enclosures through history including mass masonry and transitional masonry buildings |  |  |
| 2 | 01/12/2026 | 3 | Contemporary Wall Systems | Maria Raggousis | Discussion of enclosures post WWII and the advent of the curtain wall system |  |  |
| 2 | 01/14/2026 | 4 | Structural Design and Material Science Considerations | Peter Babaian | Self-weight, load transfer, movement compatibility, attachment principles; Material Performance, traits, and characterization |  |  |
| 3 | 01/19/2026 | 5 | MLK Day – No Class |  |  |  |  |
| 3 | 01/24/2026 | 6 | Standards and Codes | Maria Raggousis | Intro to IECC and IBC requirements for roof and wall systems |  |  |
| 4 | 01/26/2026 | 7 | Introduction to Four Barriers | Maria Raggousis | Discussion on waterproofing, insulation, vapor barriers, and air barriers |  |  |
| 4 | 01/28/2026 | 8 | Opaque cladding system design | Peter Babaian | Materials within the systems; attachment and movement capabilities; meeting U-Factor or R-value requirements |  |  |
| 5 | 02/02/2026 | 9 | Condensation and Intro to WUFI | Maria Raggousis | WUFI analysis for walls and roof systems; how to interpret results; how to select critical locations for analysis; general design rules of thumb |  |  |
| 5 | 02/04/2026 | 10 | Below-grade waterproofing design | Maria Raggousis | Materials and strategy options – including cost/benefit analysis |  |  |
| 6 | 02/09/2026 | 11 | Midterm Exam Review | Peter Babaian |  |  |  |
| 6 | 02/11/2026 | 12 | Midterm Exam | Maria Raggousis |  |  |  |
| 7 | 02/16/2026 | 13 | Introduction to Curtain Wall | Peter Babaian | Defining curtain wall vs. storefront vs. window wall systems; utilizing sizing charts; custom curtain wall design; sizing glazing |  |  |
| 7 | 02/18/2026 | 14 | Glass and Glazing | Peter Babaian |  |  |  |
| 8 | 02/23/2026 | 15 | Glass and Curtain Wall Sizing | Peter Babaian |  |  |  |
| 8 | 02/25/2026 | 16 | Condensation and U-Factor analysis | Maria Raggousis | THERM analysis, developing U-Factors for curtain wall systems; how to interpret results |  |  |
| 9 | 03/02/2026 | 17 | Roofing design | Peter Babaian | Materials and system options with advantages/ disadvantages analysis; cost/benefit analysis; identification of troublesome details |  |  |
| 9 | 03/04/2026 | 18 | Green roofing design | Maria Raggousis | Materials, systems, and strategies with advantages/ disadvantages; cost/benefit analysis; ANSI/SPRI design requirements |  |  |
| 10 | 03/09/2026 | 19 | Final Exam Review | Peter Babaian |  |  |  |
| 10 | 03/11/2026 | 20 | Final Exam | Maria Raggousis |  |  |  |

Specific Items Covered

General

General performance expectations

History of envelope design and construction, evolution of systems

Core Competencies

Structural engineering (wind, seismic and perhaps blast and impact)

Superstructure behavior (gravity, thermal, moisture, creep, etc.)

Envelope subsystem behavior and interaction with superstructure

Optimizing the two for compatibility

Material science

Mechanical systems and influence on envelope performance

Building science (Thermodynamics, WUFI)

Construction management (with specific training in CSI divisions and sequencing between trades)

Fire engineering (emerging)

Performance Attributes

Structural:  wind, seismic, gravity, thermal movement, fire resistance

Interface of envelope with structure:  isolation movement joints, attachment principles and methods, accommodating drift and other structural movements

The four weather barriers:  water, vapor, air, thermal

Daylighting

Durability (life-cycle cost/benefit considerations)

Sustainability

- Modeling

Structural

Thermal (THERM)

Hygrothermal (WUFI)

BIM, Revit, and low-tech options (Sketchup)

Typical Exterior Wall Systems

Mass

Barrier

Drainage

Modified Drainage

Rainscreen (pressure equalized (PE) systems vs. non-PE)

Building Materials

Brick veneer (with various backups)

Concrete masonry

Stucco

EIFS

Glass curtainwall (unitized and stick built)

Metal panel systems

Stone

Wood

Windows

Precast concrete

Sealants

- Other Envelope Systems

Roofing

Plaza waterproofing (Green Roofing)

Below grade waterproofing

Expansion Joint Systems

Delivery

Roles of architect, envelope consultant (if any), structural and mechanical engineers, general contractor, system suppliers, subcontractors

Design drawings and specifications

Shop drawings and submittals

Risk allocation

Delivery methods

- Other Topics

Envelope Commissioning

Maintenance and repair (life-cycle costs analysis)

Future trends

Academic Integrity Statement

Students in this course are required to comply with the policies found in the booklet, "Academic Integrity at Northwestern University: A Basic Guide". All papers submitted for credit in this course must be submitted electronically unless otherwise instructed by the professor. Your written work may be tested for plagiarized content. For details regarding academic integrity at Northwestern or to download the guide, visit: https://www.northwestern.edu/provost/policies-procedures/academic-integrity/index.html

Any form of cheating, including improper use of content generated by artificial intelligence, constitutes a violation of Northwestern’s academic integrity policy. Turnitin, which is already in use at Northwestern, is expanding its system to include artificial intelligence detection.

Accessibility Statement

Northwestern University is committed to providing the most accessible learning environment as possible for students with disabilities. Should you anticipate or experience disability-related barriers in the academic setting, please contact AccessibleNU to move forward with the university’s established accommodation process (e: accessiblenu@northwestern.edu; p: 847-467-5530). If you already have established accommodations with AccessibleNU, please let me know as soon as possible, preferably within the first two weeks of the term, so we can work together to implement your disability accommodations. Disability information, including academic accommodations, is confidential under the Family Educational Rights and Privacy Act.

COVID-19 Classroom Expectations Statement

Students, faculty and staff must comply with University expectations regarding appropriate classroom behavior, including those outlined below and in the COVID-19 Expectations for Students. With respect to classroom procedures, this includes:

- Policies regarding masking, social distancing and other public health measures evolve as the situation changes. Students are responsible for understanding and complying with current University, state and city requirements.

- In some classes, masking and/or social distancing may be required as a result of an Americans with Disabilities Act (ADA) accommodation for the instructor or a student in the class even when not generally required on campus. In such cases, the instructor will notify the class.

If a student fails to comply with the COVID-19 Expectations for Students or other University expectations related to COVID-19, the instructor may ask the student to leave the class. The instructor is asked to report the incident to the Office of Community Standards for additional follow-up.

Student Attendance Exceptions

As a result of isolation requirements, some students may need to refrain from participating in-person in classes. We ask for your flexibility in these circumstances and that you allow students to continue their studies via class recordings, notes or via temporary remote participation, where appropriate.

Exceptions to Class Modality

Class sessions for this course will occur in person.  Individual students will not be granted permission to attend remotely except as the result of an Americans with Disabilities Act (ADA) accommodation as determined by AccessibleNU.

Maintaining the health of the community remains our priority.  If you are experiencing any symptoms of COVID do not attend class. Follow the steps outlined on this site for testing, isolation and reporting a positive case. Next, contact your instructor as soon as possible to arrange to complete coursework.

Students who experience other personal emergencies should contact the instructor as soon as possible to arrange to complete coursework.

Should public health recommendations prevent in-person class from being held on a given day, the instructor or the university will notify students.

Guidance on Class Recordings

This class will not be recorded.

Prohibition on Recording of Class Sessions by Students

Unauthorized student recording of classroom or other academic activities (including advising sessions or office hours) is prohibited. Unauthorized recording is unethical and may also be a violation of University policy and state law. Students requesting the use of assistive technology as an accommodation should contact AccessibleNU. Unauthorized use of classroom recordings – including distributing or posting them – is also prohibited. Under the University’s Copyright Policy, faculty own the copyright to instructional materials – including those resources created specifically for the purposes of instruction, such as syllabi, lectures and lecture notes, and presentations. Students cannot copy, reproduce, display, or distribute these materials. Students who engage in unauthorized recording, unauthorized use of a recording, or unauthorized distribution of instructional materials will be referred to the appropriate University office for follow-up.

Support for Wellness and Mental Health

Northwestern University is committed to supporting the wellness of our students. Student Affairs has multiple resources to support student wellness and mental health.  If you are feeling distressed or overwhelmed, please reach out for help. Students can access confidential resources through the Counseling and Psychological Services (CAPS), Religious and Spiritual Life (RSL) and the Center for Awareness, Response and Education (CARE). Additional information on all of the resources mentioned above can be found here:

https://www.northwestern.edu/counseling/

https://www.northwestern.edu/religious-life/

https://www.northwestern.edu/care/